# IEC 61850 Webinar - Lab Part 2 Submission

When completed, email to Training@TriangleMicroWorks.com

Name:

Company:

Comments:

## Exercise 1: Discover Logical Nodes related to a Circuit Breaker

### 3.3.1 Step 1: Explore the IEDs related to Line 1

Based on the naming convention explained in clause 1.4, list the IEDs relevant for Line 1 and briefly describe their functionality.

- __

- __

- __

- __

For each of those IEDs, list the logical devices contained in the IED. You may use the Advanced Client tool to connect to the IED and browse its model.

- __

- __

- __

- __

- __

- __

### 3.3.2 Step 2: Identify the logical node modeling the interface to the circuit breaker

In which IED do you find the LN interfacing the circuit breaker for Line 1?

- __

What is the full path to this LN? (HINT: Right Click on the LN and inspect at the options)

- __

### 3.3.3 Step 3: LNs in the Bay Control Unit of Line 1 associated with the circuit breaker QA1

What is the name of this IED?

- __

What logical nodes do you find in this IED that are associated to the circuit breaker? List them with the LN Name

- __

- __

Provide a brief explanation of what each of the listed LNs does

- __

- __

### 3.3.4 Step 4: LNs in the Protection device of Line 1 associated with the circuit breaker QA1

What is the name of this IED?

- __

List the reference to the LNs representing the above-mentioned three functions (Synchrocheck, Breaker Failure, and Reclosing)

- __

- __

- __

### 3.3.5 Step 5: Explore circuit breaker interface

Take a screenshot showing the "Pos" data object and its data attributes.

- __

In TSP, take another screenshot showing the position of the circuit breaker; if possible include your PC clock (the current time).

- __

Explain the time you see in the data attribute “t” versus the time shown by your PC.

- __

### 3.3.6 Step 6: Explore signal flow related to circuit breaker control

Take a screenshot of the signal flow display you just created.

- __

The LN CSWI is performing the control function. Identify the signal the LN CSWI is using to check if the synchrocheck conditions are met, prior to issuing a breaker close request.

- __

The LN XCBR is the interface into the physical breaker. Identify the signals it receives which request an opening or closing of the breaker.

- __

## Exercise 2: The Breaker Fail Application modelled in IEC 61850

### 4.3.1 Step 1: Analyze the design of the breaker failure function in the substation demo

List the full path (IED/LD/LN/DO/DA) to the signal that is sent to trip the surrounding breakers in the event of a breaker failure?

- __

What are the IEDs / logical nodes that receive that data attributes?

- __

- __

- __

### 4.3.2 Step 2: The parameters of the breaker failure function

In which IED do you find this LN?

- __

Take a screenshot showing the DOs of the LN RBRF that are settings, expanded.

- __

## Exercise 3: Analyzing SCL File Structure and Content

### 5.3.1 Step 1: Identify SCL file components

Take a screenshot showing the main structure of the SCL file.

- __

What information is contained in the Header section?

- __

How many IEDs are defined in the file?

- __

### 5.3.2 Step 2: Analyze the IED section

Identify the Logical Devices and Logical Nodes defined for this IED

- __

Take a screenshot showing the IED section with logical devices and logical nodes, but the details of the LNs collapsed

- __

What is the name of the access point for that IED?

- __

### 5.3.3 Step 3: Navigate data type templates

Write down the name of the LN Type

- __

Write down the name of the DO type for the DO "Str"

- __

Where is this template used?

- __

Write down the DOs that are using this type

- __

- __

## Exercise 4: Modifying SCL Files and Pre-Configuration of Values

### 6.3.1 Step 1: Modify the LN RBRF

Take a screenshot of the window "Edit Logical Node" showing the data objects of the parameters you added

- __

### 6.3.2 Step 2: Preconfigure value for parameter FailTmms

Take a screenshot of the LN RBRF with the DOI/DAI expanded that you just created.

- __

### 6.3.3 Step 3: Preconfigure value for parameter ReTrMod

Take a screenshot of the DOType with the preconfigured value.

- __

### 6.3.4 Step 4: Save the file

Submit the file that you have saved with this document.